## Slide 1: Dose Quantities Review
Physics Resident Rotation 1

## Slide 2: Please explain how PDD changes with FS.
Notes: PDD and Surface Dose  as FS 
Dmax  as FS 
Increased scatter contribution

## Slide 3: Please explain how PDD changes with Energy.

## Slide 4: Typical Values
What is Dmax for 6X, 10X, 15X for a photon PDD? ~1.5, 2.5, 3
What is the PDD at 10 cm for a 6X photon beam? 0.67
  TMR? 0.8
Surface Dose for 6X photon, 18X? 30% (6X), 20% (18X)
Typical penumbra for 6X photon? 0.7cm
What are the rules of thumb for percent decrease per cm?
  6X
  10X
  18X
  3%/cm, 2.5%/cm, 2%/cm
Notes: solutions in white text

## Slide 5: Explain the difference between Dose and Kerma.

## Slide 6: Please explain this device and its purpose.
Notes: Collimator Scatter Factor: Ratio of the output in air for a given field to that for ref field
  Sufficient cross section = lateral scatter equilibrium
  Sufficient thickness = make electron contamination negligible
FS large enough to cover phantom