## Slide 1: Dose Distributions and Defining Quantities
Shannon O’Reilly
August 8th, 2016

## Slide 2: Percent Depth Dose
PDD = x 100
Dependent on:
  Energy
  Depth
  SSD
  Field size @ surface
  Modifier

## Slide 3: PDD Energy Dependence
PDD  as Energy  (beyond Dmax)
Decreased beam attenuation

## Slide 4: PDD Depth Dependence
PDD  as Depth  (beyond Dmax)

## Slide 5: PDD Field Size Dependence
PDD and Surface Dose  as FS 
Dmax  as FS 
Increased scatter contribution
6X 18X

## Slide 6: PDD Modifier Dependence
PDD  with modifier use
Surface dose can  with fixed wedge due to reduce electron contamination

## Slide 7: PDD SSD Dependence
PDD  with SSD 
  Decreasing effect of depth on inverse square factor
  Clinical tables tabulated for 100 SSD so convert using the Mayneord F Factor

## Slide 8: Tissue Air Ratio
TAR (d,rd) =
Function of depth and field size @ depth

## Slide 9: Backscatter Factor
BSF =
  BSF = TAR(dmax,rdmax)
  BSF  as FS 
  BSF  as Energy  until reaches a max ~0.8-1 mm Cu HVL then BSF  as Energy 
    Due to contrib. of backscattering and scattered photon penetration
  AKA PSF

## Slide 10: Scatter Air Factor
SAR(d, rd) = TAR (d,rd) - TAR (d,0)
  Ratio of scatter dose to a point to dose in free space at same point
  Independence from SSD – assumption scatter contrib. is independent of beam divergence, dependent on depth and FS @ depth
  TAR (d,0) =

## Slide 11: PDD to TAR conversion

## Slide 12: Clarkson
  Irregular fields
Notes: 10X

## Slide 13: Collimator Scatter Factor
  Ratio of the output in air for a given field to that for ref field
  SSD independent
  Need maximum dose build-up
  FS large enough to cover phantom
  Difficult to measure small FS’s (extended SSDs then convert to nominal SSD)
  Sufficient cross section = lateral scatter equilibrium
  Sufficient thickness = make electron contamination negligible

## Slide 14: Collimator Exchange Effect
  Due to different source views and backscatter into monitor chamber
  Sc(a,b)  Sc(b,a)
  Typically <2% effect

## Slide 15: Phantom Scatter Factor
                Sc setup Sc,p setup
  Ratio of dose rate for a given field at ref depth to the dose rate at same depth for ref field size (fixed collimator opening)
  Sp(r) =
Notes: Co-60

## Slide 16: Tissue Phantom Ratio
  Ratio of dose at a given point in a phantom to dose at the same point at fixed ref depth
  TMR(d,0) steepest drop, caused entirely by primary beam

## Slide 17: Beam Profiles
  Penumbra depends on: collimators, focal spot size, lateral electronic disequilibrium
    Geometric (source size)
    Transmission (collimators)
    Scatter (in-patient)
  p20-80 Co-60 ~10-15 mm
  p20-80 LINAC ~6mm (@dmax)
    Larger than predicted (based on source size) due to flattening filter (broaden)
  Cobalt-60
  10X
Notes: 10X

## Slide 18: Beam Profiles
  Central region (linacs) depends on: electron energy impinging target, target atomic number, flattening filter atomic number and shape
  Beam divergence causes profiles to become wider with depth
  Horns gradually decrease w/ depth – in scatter/out-scatter imbalance at beam edge, softer beam quality away from central axis (flattening filter shape)
  10X
Notes: 10X

## Slide 19: Flatness and Symmetry
  Flatness
    Measured with central 80%
    Less than 3% (d=10cm, SSD=100cm, largest FS)
      Causes over-flattening at dmax (horns), under-flattening depths beyond 10 cm due to lower beam effective energy in off-axis directions
  Symmetry
    Within 2% (d=dmax)
Notes: 10X