## Slide 1: TBI, TSET Quiz

## Slide 2
What is TBI used for? Immunosuppress patient prior to receiving BMT
Typical prescription? At Penn: 2 Gy in 1 fx, 12 Gy in 6 fxs (8Gy TBI + 4Gy w/ lung blocks)
Patient Positioning?
Measurement points? Forehead, neck, chest (placed between the scapula on patient’s back), umbilicus (prescription point), femur
Notes: lungs blocks; tg-29

## Slide 3
What is TSET used for? Cutaneous T-Cell Lymphoma, Mycosis fungoides
Typical prescription? 6 x 200 cGy, 4 x 200 cGy (soles), 4 x 200 cGy (perineum) – over 3 weeks
Patient Positioning? Stanford technique
Measurement points?
Notes: TG-30