## Slide 1: TG-120 and Ezzel paper Quiz
10/31

## Slide 2: Q1
TG-120 lists a number of detectors that can be used for IMRT QA.
  List the detectors for 1D measurement
  Provide pros and cons of each

## Slide 3: Q2
TG-120 lists a number of detectors that can be used for IMRT QA.
  List the detectors for 2D measurement
  Provide pros and cons of each

## Slide 4: Q3
What is being tested here?
The evaluated dose distribution in quadrant 2 has been scaled such that the dose varies by 6% at the field edges 1.2% cm−1 dose gradient. The evaluated dose distribution in quadrant 3 has been shifted by 1.2 mm for each cm of off-axis distance to mimic spatial discrepancies between dose distributions.

## Slide 5: Q4
What is being tested here?
What other tests are performed for this type of equipment?
How often should you test this equipment?

## Slide 6: Q5
Explain the differences between IMRT and conventional treatment planning for:
  Dose calculations and beam modeling
  Planning algorithms and planning “issues” (e.g. contours)
Notes: Flash
Target in air or skin surface
MU calcs

## Slide 7: Q6
Explain process of clinical implementation of IMRT
  Shielding
  Space planning
  Equipment
  Time and personnel requirements
  Immobilization
  Imaging Requirements
  Training